DIRECTIONS FOR USE

Mode of application
1. Apply on the damaged area of ​​the body the medical bandage, acting as under-splint stocking.

2. Open the protective package.

3. Unwind the roll and prepare the splint (recommended number of splint layers - at least 8)

         and if the method of application is supposed to be in tours, take the roll.

4. Put the prepared splint or roll in a container with drinking water for seven - ten seconds until full coverage of the splint or the roll with liquid.

         Water temperature (20 ± 2)°C.

5. Strongly squeeze once until removing the excess water.

6. Level the splint on a special table until obtaining the homogeneity of the layers and apply it according to the features of the injury.

         When applying the spiral bandage, the roll shall be unwound spirally so, that the tours overlap by half or two thirds of its width.

7. Smooth the obtained bandage and model the desired shape giving an aesthetic appearance.

8. Place the patient in such a way as to eliminate the excess of the recommended pressure on the bandage during while strengthening and drying.
Note

The fixing bandages of the plaster bandages are applied only by medical specialists.

Areas of application

Manufacture of moulds and caps in porcelain, earthenware and ceramic industries;

Production of dry mixes;

Plugging of wells in the oil industry;

Production of artistic interior parts (moulded products, decorative panels and parts for them, eaves, ventilation grilles, as well as sculptural works);

Production of phantoms, museum visual aids;

Dentistry and traumatology;

Metallurgy and mechanical engineering.

Production of solutions of plaster binders

For the preparation of homogenous mass of creamy consistency, add gradually in the cold water plaster and quickly stir.

The best performance is achieved using the solution before setting. The strongly frozen mass is re-diluted with water and is apply for works. Longer setting of the solution is achieved by addition water until mixing the solution of (carpenter, wallpaper) glue, boric acid, borax and polymer dispersions (eg., PVA), etc. To reduce the time of solution setting, a little salt can be used. The quantity of additives is determined experimentally. It all depends on the type of binder, its normal thickness and the desired result.
Storage

The bags of high-strength plaster should be stored in a dry place on a wooden pallet (flooring). The damaged bags shall be changed and used first.

